## Blad1.1
Tasmota Supported Sensors v1.0.0.7 - last changed on 2018 December 06
Nr | Name | Type | Filename | IF Type | IF Address | Version | Maintainer
Drivers (drv)
1 | HTTP | Webserver | xdrv_01_webserver | Wifi |  | 2018 | Theo Arends
2 | MQTT | Interface | xdrv_02_mqtt.ino | Wifi |  | 2018 | Theo Arends
3 |  | Energy sensor support | xdrv_03_energy.ino | GPIO |  | 2018 | Theo Arends
4 |  | PWM, WS2812, Sonoff LED support | xdrv_04_light.ino | GPIO |  | 2018 | Theo Arends
5 | IR | Infra Red support | xdrv_05_irremote.ino | GPIO |  | 2018 | Heiko Krupp, Lazar Obradovic, Theo Arends
6 | Sonoff RF | 433MHz Bridge support | xdrv_06_snfbridge.ino | RF |  | 2018 | Theo Arends, Erik Andrén Zachrisson
7 | Domo | Domoticz support | xdrv_07_domoticz.ino | Wifi |  | 2018 | Theo Arends
8 |  | Serial Bridge support | xdrv_08_serial_bridge.ino | Serial |  |  | Theo Arends, Dániel Zoltán Tolnai
9 | Timer | Timer support | xdrv_09_timers.ino | Internal |  | 2018 | Theo Arends
10 | Rules | Rule support | xdrv_10_rules.ino | Console |  | 2018 | ESP Easy Group, Theo Arends
11 | KNX IP | KNX IP Protocol support | xdrv_11_knx.ino | Wifi |  | 2018 | Adrian Scillato
12 | HA | Home Assistant support | xdrv_12_home_assistant.ino | Wifi |  | 2018 | Theo Arends
13 | Display | Display support | xdrv_13_display.ino | Internal |  | 2018 | Theo Arends
14 | MP3 | MP3 Player support | xdrv_14_mp3.ino | Serial |  | 1.0.0.4 20181003 | Gerhard Mutz, Mike Fleischer, Theo Arends
15 | PCA9685 | 12 Bit, 16 Pin Hardware PWM driver | xdrv_15_pca9685.ino | I2C | 0x40..0x7F | 2018 | Andre Thomas, Theo Arends
16 | Tuya | Dimmer support | xdrv_16_tuyadimmer.ino | Serial |  | 2018 | digiblur, Joel Stein, Theo Arends
17 | RF Transceiver | RF Transceiver using RcSwitch library | xdrv_17_rcswitch.ino | GPIO |  | 2018 | Theo Arends
18 | Armtronix | Dimmer support | xdrv_18_armtronix_dimmers.ino | Serial |  | 2018 | wvdv2002, Theo Arends
19 | PS_16_DZ | Dimmer support | xdrv_19_ps16dz_dimmer.ino | Serial |  | 2018 | Joel Stein, Theo Arends
20 | Debug | Debug support | xdrv_99_debug.ino | Internal |  | 2018 | Theo Arends
21 | Generic | Driver interface | xdrv_interface.ino | Internal |  | 2018 | Theo Arends inspired by ESPEasy
Displays (dsp)
1 | LCD | Display LCD support | xdsp_01_lcd.ino | I2C | 0x27 or 0x3F | 2018 | Theo Arends, Adafruit
2 | SSD1306 | Display Oled support | xdsp_02_ssd1306.ino | I2C | 0x3C or 0x3D | 2018 | Theo Arends, Adafruit
3 | HT16K33 | Display 8x8 Matrix support | xdsp_03_matrix.ino | I2C | 0x70..0x77 | 2018 | Theo Arends, Adafruit
4 | ILI9341 | Display TFT support | xdsp_04_ili9341.ino | SPI |  | 2018 | Theo Arends, Adafruit
5 | E-Paper | Display E-Paper support | xdsp_05_epaper.ino | SPI |  | 2018 | Theo Arends, Gerhard Mutz, Waveshare
6 | Generic | Display interface | xdsp_interface.ino | Internal |  | 2018 | Theo Arends
Energy Messaurement (nrg)
1 | HLW8012 based | Energy sensor support, (Sonoff Pow, KMC70011, HuaFan, AplicWDP303075, Teckin Power Socket) | xnrg_01_hlw8012.ino | Serial |  | 2018 | Theo Arends
2 | CSE7766 | Energy sensor support, Sonoff S31, Sonoff POW R2 | xnrg_02_cse7766.ino | Serial |  | 2018 | Theo Arends
3 | PZEM004T | Energy sensor support | xnrg_03_pzem004t.ino | Serial |  | 2018 | Theo Arends
4 | MCP39F501, Shelly 2 | Energy sensor support | xnrg_04_mcp39f501.ino | Serial |  | 2018 | Theo Arends
5 | PZEM-014, PZEM -016 | Modbus AC Energy sensor support | xnrg_05_pzem_ac.ino | Modbus Serial |  | 2018 | Theo Arends
6 | PZEM-003, PZEM-017 | Modbus DC Energy sensor support | xnrg_06_pzem_dc.ino | Modbus Serial |  | 2018 | Theo Arends
7 | Generic | Energy Driver Interface | xnrg_interface.ino | Internal |  | 2018 | Theo Arends inspired by ESPEasy
Plug Type Devices (plg)
1 | Wemo, Hue | Support | xplg_wemohue.ino | Wifi |  | 2018 | Heiko Krupp, Theo Arends
2 | WS2812 | LED String and Strip support | xplg_ws2812.ino | Serial NeoPixel |  | 2018 | Heiko Krupp, Theo Arends
Sensors (sns)
1 | Counter | Counter sensors support (water meters, electricity meters, etc.) | xsns_01_counter.ino | Internal |  | 2018 | Maarten Damen, Theo Arends
2 | ADC | ESP8266 ADC support | xsns_02_analog.ino | Internal |  | 2018 | Theo Arends
3 | iTead Sonoff SC | Temperature, Humidity, Light and Air Quality sensor support | xsns_04_snfsc.ino | GPIO |  | 2018 | Theo Arends
4 | DS18B20 | Temperature sensor support | xsns_05_ds18b20.ino | GPIO |  | 2018 | Theo Arends
5 | DS18x20 | Temperature sensor support | xsns_05_ds18x20.ino | GPIO |  | 2018 | Theo Arends
6 | DS18x20 Legacy | Temperature sensor support | xsns_05_ds18x20_legacy.ino | GPIO |  | 2018 | Heiko Krupp, Theo Arends
7 | DHTxx, AM23xx, SI7021 | Temperature and Humidity sensor support | xsns_06_dht.ino | GPIO |  | 2018 | Theo Arends
8 | SHT1x, SHT10/11/15 | Temperature and Humidity sensor support | xsns_07_sht1x.ino | I2C | 0x40 default | 2018 | Theo Arends
9 | HTU21 | Temperature and Humidity sensor support | xsns_08_htu21.ino | I2C | 0x40 | 2018 | Heiko Krupp, Theo Arends
10 | BMP085, BMP180, BMP280, BME280, BME680 | Pressure, Temperature, Humidity and Gas (BME680) sensor support | xsns_09_bmp.ino | I2C | 0x76 and 0x77. Two BMP are now possible | 2018 | Heiko Krupp, Theo Arends
11 | BH1750 | Ambient Light sensor support | xsns_10_bh1750.ino | I2C |  | 2018 | Theo Arends
12 | VEML6070 | Ultra Violet Light (UV-A), UV Index and UV Power sensor support | xsns_11_veml6070.ino | I2C | 0x38 & 0x39 | 1.0.0.3 20181006 | Mike Fleischer, Theo Arends
13 | ADS1115 | A/D Converter support | xsns_12_ads1115.ino | I2C | 0x48, 0x49, 0x4A or 0x4B | 2018 | Theo Arends
14 | ADS1x15 | A/D Converter support | xsns_12_ads1115_i2cdev.ino | I2C | 0x48, 0x49, 0x4A or 0x4B | 2018 | Stefan Bode, Theo Arends
15 | INA219 | High-Side DC Current and Voltage sensor support | xsns_13_ina219.ino | I2C | 0x40..0x4F | 2018 | Stefan Bode, Theo Arends
16 | SHT3X | Temperature and Humidity sensor support | xsns_14_sht3x.ino | I2C | 0x44, 0x45 or 0x70 (SHTC3) | 2018 | Theo Arends
17 | MH-Z19(B) | CO2 sensor support | xsns_15_mhz19.ino | Hardware Serial |  | 2018 | Theo Arends
18 | TSL2561 | Light sensor support | xsns_16_tsl2561.ino | I2C | 0x29, 0x39 or 0x49 | 2018 | Theo Arends, Joachim Banzhaf
19 | SenseAir K30, K70 and S8 (CO2) | CO2 sensor support | xsns_17_senseair.ino | I2C | 0x68 | 2018 | Theo Arends
20 | PMS5003-7003 | Particle Concentration sensor support | xsns_18_pms5003.ino | Serial |  | 2018 | Theo Arends
21 | Xadow, Grove | Mutichannel Gas sensor support | xsns_19_mgs.ino | I2C | programmable, 0x04 default | 2018 | Palich2000, Theo Arends
22 | Nova SDS011, SDS021 | Particle Concentration sensor support | xsns_20_novasds.ino | Serial |  | 2018 | Theo Arends
23 | SGP30 | Gas and Air Quality sensor support | xsns_21_sgp30.ino | I2C | 0x58 only | 2018 | Theo Arends
24 | HC-SR04, HC-SR04+, JSN-SR04T | Ultrasonic sensor support | xsns_22_sr04.ino | GPIO |  | 2018 | Nuno Ferreira, Theo Arends
25 | Eastron SDM120 | Modbus Energy Meter support | xsns_23_sdm120.ino | Serial |  | 2018 | Gennaro Tortone
26 | SI1145, SI1146, SI1147 | UV Index, IR and Visible Light sensor support | xsns_24_si1145.ino | I2C | 0x60 only | 2018 | Theo Arends
27 | Eastron SDM630 | Modbus Energy Meter support | xsns_25_sdm630.ino | Serial |  | 2018 | Gennaro Tortone
28 | LM75AD | Temperature sensor support | xsns_26_lm75ad.ino | I2C | 0x48..0x4F | 2018 | Andre Thomas, Theo Arends
29 | APDS9960 | Proximity Sensor support | xsns_27_apds9960.ino | I2C | 0x39 only | 2018 | Shawn Hymel/Sparkfun, Christian Baars, Theo Arends
30 | TM1638 | 8 Switch, LED and 7 Segment Unit sensor support | xsns_28_tm1638.ino | GPIO |  | 2018 | Theo Arends
31 | MCP23008, MCP23017 | GPIO Expander | xsns_29_mcp230xx.ino | I2C | 0x20..0x27 | 2018 | Andre Thomas, Theo Arends
32 | MPR121 | 12 Point Proximity Capacitive Touch Sensor controller | xsns_30_mpr121.ino | I2C | 0x5A, 0x5B, 0x5C or 0x5D | 2018 | Rene 'Renne' Bartsch
33 | CCS811 | Gas and Air Quality sensor support | xsns_31_ccs811.ino | I2C | 0x5A or 0x5B | 2018 | Gerhard Mutz, Theo Arends
34 | MPU6050 | 3-Axis Gyroscope and 3-Axis Accelerometer sensor support | xsns_32_mpu6050.ino | I2C | 0x68 or 0x69 with AD0 HIGH | 2018 | Oliver Welter
35 | DS3231 | RTC chip, act like sensor support | xsns_33_ds3231.ino | I2C | 0x68 | 2018 | Guy Elgabsi
36 | HX711 | Load Cell sensor support | xsns_34_hx711.ino | GPIO |  | 2018 | Theo Arends
37 | TX20 | La Crosse Wind (Anenometer) sensor support | xsns_35_tx20.ino | GPIO |  | 2018 | Thomas Eckerstorfer, Theo Arends
38 | MGC3130 | Electric Field Sensor | xsns_36_mgc3130.ino | I2C |  | 2018 | Christian Baars, Theo Arends
39 | Generic | Sensor Interface | xsns_interface.ino | Internal |  | 2018 | Theo Arends, Inspired by ESPEasy
40 | Debug | Debug support | zzzz_debug.ino | Internal |  | 2018 | Theo Arends

## Blad2.1
Hints from Jason 21. oct 2018
Pzem-003/017 DC | already in 1st version
Pzem-014/016 AC | already in 1st version
CSL Aplic WDP 303075 Power Socket | already in 1st version, more Names added under Energy Messaurment Nr. 1
Teckin Power Socket | already in 1st version, but Name added under Energy Messaurment Nr. 1
Shelly2 | already in 1st version, but Name added under Energy Messaurment Nr. 4
SDM120 energy | already in 1st version